ADDENDUM NO. 3
(FOR CONSTRUCTION DOCUMENTS DATED MARCH 31, 2026)
A NEW FUTURE FARMERS OF AMERICA
CONFERENCE CENTER

AT OLD RIVER IN MANSURA, LOUISIANA

1135 OLD RIVER ROAD

TO:
 Louisiana Digital Reproduction, Dodge Report, General Contractors, Sub Contractors, Suppliers, and all others known to who have plans and specifications on the above referenced project.

DISTRIBUTION:  
Louisiana Digital Reproduction
DODGE REPORT
817 W. University Ave. 

danielles@lagc.org
Lafayette, LA  70506


225-888-4204
337-235-5081

print@ladigital.biz
Project Engineers:   Associated Design Group, Inc. 



301 Jackson St., Suite 204



318 445 8870



adginc@adginc.org


Ragland, Aderman & Assoc.



3888 Government St., Suite 100



Baton Rouge, LA  70806



225-343-4129



tw@raaengineers.com
Owner:

Avoyelles Parish School Board
539 West Bon Tempt St.

Marksville, LA  71351

Ray Carlock, Dir. Of Buildings and Maintenance

Ray.carlock@avoyellespsb.com

General Contractors attending Mandatory Pre Bid Meeting on May 13, 2026:

Bayou Rapides Corporation: Tony Clark  tony.clark@brcconstruction.com
318-419-8899

Normand Construction:  Glendon Normand:  glendonnormand@aol.com
318-253-5922

Pat Williams Construction:  Russ Jeansonne:  estimating@patwilliamsconstruction.com
318-460-0006

Southern Craftsman Construction:  Pete Shelton:  pete@southerncraftsman.com
318-446-2432

Rusk Construction, LLC:  Jamie & Brandi Rusk:  ruskconstruction@gmail.com
318-481-9630 or 9629

Cenla Contracting:  Dustin Firmin:  dustin@cenlacontracting.com
318-528-0910

NUMBER OF PAGES:   Seven  (7) – 8 ½” x 11”  pages.
FROM:
Coco & Company 



Wayne Lawrence Coco, AIA, Architect LLC



318-359-3732



waynecococo@centurytel.net


Fax:  318-941-2821

DATE ISSUED:  Friday, May 29, 2026         Time Issued:  5:00 P.M. CDST
General Note:  This addendum #3 is issued for the purpose of modifying and or clarifying the original plans and specifications dated March 31, 2026 and is construed as being as much part of the original contract documents as though originally contained therein.  The contractor shall note that prior approval is by manufacturer’s name only.  Contractor shall ensure that the products used in preparation of his proposal and proposed to be used on this project, is equivalent to the specified in appearance, performance, size, installation type, and shape.  Any material found to not be equivalent to the specified will be rejected.  Prior approval of one manufacturer does not automatically prior approve any subsidiary company, parent company and/or sister company and their associated products. 
Item #1:  Revised Bid Opening:  Due to requests from contractors and sub contractors for more time to put their numbers together, the Revised Bid Opening will be extended to Thursday, June 18, 2026.  Bids will be received until 2:00 P.M. at the Avoyelles Parish Maintenance Building at 539 Bon Tempt St., Marksville, LA. Only contractors signed in at the Mandatory Pre Bid Conference will be permitted to bid the project. 

Item #2:  Bid Form:  Attached to this addendum is the revised Bid Form with the correct revised Bid Date of June 18, 2026.  

Item #3:  Regarding Pre Engineered Metal Building Roll-Up Doors #18 and #19:
Doors #18 and #19 are standard, hand operated, uninsulated, corrugated 26 gauge steel curtain coiling doors with overhead drum box housing above.  Available manufactures are equal to Raynor and DuroSteel.  Color is to be selected by the Architect from all available manufacturer colors at time of submittal.  

Item #4:  Telecommunications and CATV Clarifications:  The contractor will be responsible to provide all conduit and raceways for telecommunications and CATV.  The Owner will be responsible to provide the installation of the wiring and devices.

Item #5: 
Toilet Partitions:  All toilet partitions shall be solid phenolic.  3/4” thickness for stiles and doors is acceptable.

Item #6:
Prior Approvals for Plumbing Items:
a. For Tempering Valve at L-A, SK-A:
Approved equal by ACORN Controls.

b. For Thermostatic Temperature Pressure Balancing Mixing Valve for Showers:  ACORN Controls.

c. For Barrier-Free, Universal Bi-Level, Wall Mounted Water Cooler:  MURDOCK ID.
d. For Sensor Operated Bottle Filler with Bottle Counter Display:  MURDOCK ID BY 12-BCD

e. For ¾” NPT Ball Valves:  ACORN Controls MV17-2-)TG.

Item #7:
Prior Approvals for Door Hardware:
1. Keying: 

a. Accentra KeyMark

b. Corbin Russwin Access 3

2. Exit Devices:  

a. Accentra 7000 Series

b. Corbin Russwin ED5000 Series

3. Locksets:

a. Accentra 5300LN Series
b. Corbin Russwin CL3800 Series 

4. Closers:

a. Accentra 5801 Series 

b. Corbin Russwin DC6000 Series 

5. Overhead Stops:

a. Norton Rixson 10 Series

Item #8:
Regarding Site Finish Elevations:

There are no finish grade elevations shown on the Site Plan Sheet A1.1 because some site work was done after the original site survey was done and we do not know the exact existing elevations on the site.  In this case the grade elevations around the building, parking lot and road will generally need to be a minimum of 6 inches below the elevation of the Ground Floor Level which is established at approximately 48.5 feet which we believe to be at existing grade.  There appears to be NO anticipated fill, but some grading may be required to move existing soil around the building and site to maintain positive drainage.  
End of Addendum #3
	1



